## Slide 1: Bobblestat Biosensor
Robert E. Fischell Institute for Biomedical Devices
Potentiostat PCB by John Rzasa, PhD.
CAD models by Quinn Burke and Jason Chen

## Slide 2: Introduction
Design an effective electrode using different plating methodologies.
Iteratively bench-test to optimize the fabrication process.
Integrate the electrode into a device that is:
  Modular
  Water-resistant
  Buoyant with adjustable depth
  Designed to prevent trapping major internal air bubbles
  Optimized for antenna orientation

## Slide 3: Bobblestat Prototype
NOTE: the CAD model is an updated version of the prototype. Material selection is not final.

## Slide 4: Bobblestat Cross-section Diagram
Threaded Lids
PCB-based Electrode
POGO Pin
Potentiostat PCB
O-ring
Battery Scaffold
Antenna Path
Charging Coil
Dovetail O-ring Groove
Slots for Weights
Air Bubble Escape

## Slide 5: Test Rig
Designed testing rigs that snugly contain electrode for preliminary bench-testing prior to device integration.
Used light-curing resin and soldering to fix and connect the POGO pins.

## Slide 6: Electrode Holders
Designed to be compatible with both the custom testing rigs and commercial electrodes.
For Working/Counter Electrodes
For Reference Electrodes

## Slide 7: Electrode Container Plate
Stackable design protects the electrode from surface damage.
Can be labeled using staggered tabs.